## Sheet1
Technology | Material | Unit | Value |  | Assumptions
Transmission | Concrete | tons/km | 245.7055 |  | All HV lines are overhead
Transmission | Steel | tons/km | 68.2608 |  | Deetman assumes all values >130 kV are considered High Voltage (HV)
Transmission | Aluminum | tons/km | 13.4537 |  | The post-assessment data Deetman reports does not differentiate in single/double circuit lines for their material assumptions & nr. of substations/transformers per km/line per voltage class. This means that reported values are averages that includes a range of different line, tower, transformer and substation types for lines >130 kV. For our study, this means that only a very basic assessment of demand projections can be done based on indicative values, but at no point a robust assessment with sensitivities. The main outcomes from this kind of analysis could be to solely indicate on which material types transmission needs can have an impact.
Transmission | Glass | tons/km | 1.097
Transmission | Cu | tons/km | 4.1236
HV overhead cable | Concrete | tons/km | 209.138
HV overhead cable | Steel | tons/km | 52.266
HV overhead cable | Aluminum | tons/km | 12.883
HV overhead cable | Glass | tons/km | 1.097
HV Substation | Concrete | tons/km | 2.0939
HV Substation | Steel | tons/km | 0.24762
HV Substation | Aluminum | tons/km | 0.54425
HV Substation | Cu | tons/km | 0.077926
HV Substation | Glass | tons/km | 8.45e-07
HV Transformer | Concrete | tons/km | 34.4736
HV Transformer | Steel | tons/km | 15.7472
HV Transformer | Aluminum | tons/km | 0.02644
HV Transformer | Cu | tons/km | 4.0457
HV Substation | Concrete | tons/unit | 123.9
HV Substation | Steel | tons/unit | 14.652
HV Substation | Aluminum | tons/unit | 32.204
HV Substation | Cu | tons/unit | 4.611
HV Substation | Glass | tons/unit | 5e-05
HV Transformer | Concrete | tons/unit | 648
HV Transformer | Steel | tons/unit | 296
HV Transformer | Aluminum | tons/unit | 0.497
HV Transformer | Cu | tons/unit | 76.047
HV Substation | - | units/km/line | 0.0169
HV Transformer | - | units/km/line | 0.0532
1576.05